## Importer of Non Drug Items
Evaluation Criteria for Importers/Indenters of Non-Drug Items for Government MCC 2025-26
|  | Name of the firm |  |  |  |  | FLOWTRONIX SYSTEMS, RAWALPINDI
Technical Evaluation Matrix
[7 empty] | Principal's and Importer's Evaluation Parameters | [6 empty] | Product Technical Evaluation | [5 empty] | Product Evaluated Score | Total Technical Score
[7 empty] | Principal Manufacturer Evaluation |  |  | Importer's Evaluation |  |  | Suppliers Technical Score
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
[7 empty] | Valid ISO 14001 certificate of the facility where the quoted product is manufactured issued by authorized body of the country of origin duly accredited with International Accreditation Forum (IAF), (duly attested by senior executive of the firm). Online verification link shall be provided. | Valid ISO 13485 certificate of the facility where the quoted product is manufactured, issued by authorized body of the country of origin duly accredited with International Accreditation Forum (IAF) for the country of origin (duly attested by senior executive of the firm). Online verification link shall be provided. | Valid accreditation of manufacturing unit or its relevant section/s by the US-FDA or WHO or UNFPA or official accreditation body/ies/regulatory body/ies in the case of SRA countries (duly attested by senior executive of the firm) In cases where the validity period is not explicitly mentioned on the accreditation certificate, the certificate shall be considered valid only if it was issued within the last five (05) years from the date of bid submission. | Availability of minimum 20% inventory of the total import of the quoted item/s during last one year (certificate to the effect duly signed by the senior executive of the firm & evaluated by the MCC expert/s). Non availability of the 20% stock at the warehouse at the time of inspection of the importer shall lead to disqualification of the quoted item/s and/or firm) | Adherence to Good Storage Practices (GSP) for finished goods storage of the quoted item/s. The physical inspection committee/ MCC experts shall verify the compliance to the GSP in accordance to the laid down criteria and terms and conditions of the Drug Sales Rules/ Medical Device Rules/Regulations framed by the DRAP. Non adherence to GSP, as evaluated by the MCC expert/s at the time of inspection shall lead to Disqualification of the firm. | Adequate availability of qualified & relevant Human Resource (presence of Category-A pharmacist/s is/are mandatory) as per the requirements laid down in DRAP regulations. (Certified by the senior executive of the firm & evaluated / confirmed by MCC expert/s at the time of inspection as non-compliance to this parameter shall lead to disqualification of the firm). |  | Goods Declaration certificate of imported finished quoted item/s from Pakistan Customs, coupled with valid airway bill or Bill of Lading for the quoted item/s, not older than 24 months on the cutoff date for submission of bids. In case of supply/purchase through different facilty/third party, a valid trail/link/DRAP clearance NOC between the principal manufacturer and the supplier firm shall be established with the firm offering the product to Govt. MCC Duly attested by the senior executive of the firm. | Certificate of Analysis of finished quoted item/s from the Principal Manufacturer as mentioned in the goods declaration (GD) provided in column 12, duly attested by the senior executive of the firm. (In case of non-provision of matching GD the marks for GD will not be awarded). | Tender Approvals (not older than twelve 12 months) from Tertiary care Govt. Hospitals, Health related Govt. projects and/ or JCI accredited private hospitals of Pakistan. Marks shall be awarded in the following manner: 02 Tender approvals- 01 mark 04 Tender approvals- 02 marks 06 Tender approvals- 03 marks 08 Tender approvals- 04 marks 10 or more Tender approvals- 05 marks Note. Tender approval means award of contract(s) for the quoted product(s) with the same brand name and specifications / strength / dosage form. Moreover, the approval(s) shall be duly attested by the concerned procuring entities and accompanied with purchase orders, delivery challan, invoice/warranty and cheque from the concerned procuring entity/purchasing agency/ies, etc. The bank statement showing the respective transaction against the cheque received shall also be submitted with each purchase order. | Valid WHO prequalification and/or valid product registration in SRA country(ies) / and/or valid free sale certificate issued by regulatory body of any SRA country(ies) In cases where the validity period is not explicitly mentioned on the above certificate, the certificate shall be considered valid only if it was issued within the last five (05) years from the date of bid submission. 01 mark for each certification, up to a maximum of 03 marks. Certificates on company's own letter heads shall not be acceptable. (copies of relevent certificates duly attested by the senior executive of the firm) | CE mark/Quality assurance certificate/Quality control certificate issued by conformity assessment bodies (CABs) enlisted in NANDO database under the relevant European directive for medical devices of European Union (Verification link shall be provided), and/or Japanese Ministry of Health, Labour and Welfare (JMHLW) certificate, and/or US FDA (510 K) / US free sale certificate of the quoted products certificates with same brand name shall be considered. 02 marks for each certification, up to a maximum of 06 marks. Certificates on company's own letter heads shall not be acceptable. (copies of relevant certificates duly attested by the senior executive of the firm) | Physical examination of the quoted item/s by the MCC expert/s. Rejection of the quoted item/s by the MCC expert/s shall lead to disqualification of the said item/s. | Product Evaluated Score | Total Technical Score
|  | S. No. | Ref. No. of item in MCC Formulary | Generic Name of Item | Size, Gauge, etc. of Device | Trade Name | 3 | 5 | 5 | 5 | 6 | 6 | 30 | 5 | 5 | 5 | 3 | 6 | 16 | 40 | 70
Guangdong Baihe Medical Technology China |  | 1 | 982 | CVP line (Single Lumen) |  | Able | 0 | 0 | 0 | All mandatory documents of the quoted items in original were checked and the warehouse was inspected by the inspection team for evaluation of adherence to the required criteria of physical inspection for importer given under SBD (Standard Bidding Document), subsequent to which following observations were noted; 1. GUANGDONG BAIHE MEDICAL TECHNOLOGY CHINA • Agency agreement does not cover scope of Dialysis catheters. • Embassy attested original Free sale certificate and EC/COPP/COMP certificate were not present. In view of the foregoing, the firm is NOT RECOMMENDED for the award of marks as specified for physical inspection in the relevant pro-forma for items of GUANGDONG BAIHE MEDICAL TECHNOLOGY CHINA. 2. ELATE KARACHI • Elate Karachi is a local manufacturer and the firm cannot quote item of a local manufacturer as er BSD. Furthermore, the registration/enlistment certificate of the quoted item was also not present at the time of inspection. In view of the foregoing, the firm is NOT RECOMMENDED for the award of marks as specified for physical inspection. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 16
Guangdong Baihe Medical Technology China |  | 2 | 983 | CVP line (Double Lumen) |  | Able | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 16
Guangdong Baihe Medical Technology China |  | 3 | 984 | CVP line (Tripple Lumen) |  | Able | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 16
Guangdong Baihe Medical Technology China |  | 4 | 985 | CVP line (Quad Lumen) |  | Able | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 16
Guangdong Baihe Medical Technology China | NF | 5 | 990 | Dialysis Catheters (Double Lumen) | 15cm X 12F | Able | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 16
Guangdong Baihe Medical Technology China |  | 6 | 991 | Dialysis Catheters (Double Lumen) | 20cm X 12F | Able | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 16
Guangdong Baihe Medical Technology China |  | 7 | 988 | Dialysis Catheters Permanent different sizes |  | Able | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 16
M/S Elate Karachi |  | 8 | 1046 | Disposable Gown as per WHO or equivalent standard |  | Elite Care | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 16 | 16
GRC Decision
The GRC agreed with the findings and recommendations of the inspection report and disposed of the appeals in accordance with the said terms.