## Medical Devices Import
Evaluation Criteria for Importers/Indenters of Medical Devices, Surgical Disposables and Sutures for Government MCC 2025-26
Name of the firm |  |  |  |  | HASHIR SURGICAL SERVICES, PESHAWAR
S. No. | Product General Parameter |  |  |  | Technical Evaluation Matrix
[5 empty] | Principal's and Importer's Evaluation Parameters | [6 empty] | Product Technical Evaluation | [5 empty] | Product Evaluated Score | Total Technical Score
[5 empty] | Principal Manufacturer Evaluation |  |  | Importer's Evaluation |  |  | Suppliers Technical Score
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 20
[5 empty] | Valid ISO 14001 certificate of the facility where the quoted product is manufactured issued by authorized body of the country of origin duly accredited with International Accreditation Forum (IAF), (duly attested by senior executive of the firm). Online verification link shall be provided. | Valid ISO 13485 certificate of the facility where the quoted product is manufactured, issued by authorized body of the country of origin duly accredited with International Accreditation Forum (IAF) for the country of origin (duly attested by senior executive of the firm). Online verification link shall be provided. | Valid accreditation of manufacturing unit or its relevant section/s by the US-FDA or WHO or official accreditation body/regulatory bodies in the case of SRA countries (duly attested by senior executive of the firm) In cases where the validity period is not explicitly mentioned on the accreditation certificate, the certificate shall be considered valid only if it was issued within the last five (05) years from the date of bid submission. | Availability of minimum 20% inventory of the total import of the quoted item/s during last one year (certificate to the effect duly signed by the senior executive of the firm & evaluated by the MCC expert/s). Non availability of the 20% stock at the time of inspection at the warehouse at the tim eof inspection of the importer shall lead to disqualification of the quoted item/s / firm) | Adherence to Good Storage Practices (GSP) for finished goods storage of the quoted item/s. The physical inspection committee/ MCC experts shall verify the compliance to the GSP in accordance to the laid down criteria and terms and conditions of the Drug Sales Rules/ Medical Device Rules/Regulations framed by the DRAP. Non adherence to GSP, as evaluated by the MCC expert/s at the time of inspection shall lead to Disqualification of the firm. | Adequate availability of qualified, (Presence of Category-A Pharmacist/s is / are mandatory), & relevant Human Resource (Certified by the senior executive of the firm & evaluated / confirmed by MCC expert/s at the time of inspection as non-compliance to this parameter shall lead to disqualification of the firm). |  | Goods Declaration certificate of imported finished quoted item/s from Pakistan Customs, coupled with valid airway bill or Bill of Lading for the quoted item/s, not older than 24 months on the cutoff date for submission of bids. In case of supply/purchase through different facilty, a valid trail/link/DRAP clearance NOC between the principal manufacturer and the supplier firm shall be established with the firm offering the product to Govt. MCC (Certificate duly attaested by senior executive of the firm) | Certificate of Analysis of finished quoted item/s from the Principal Manufacturer as mentioned in the goods declaration (GD) provided in column 12, duly attested by the senior executive of the firm. In case of Non-provision of matching GD the marks for CoA will not be awarded. | Tender Approvals (not older than twelve 12 months) from Tertiary care Govt. Hospitals, Health related Govt. projects and/ or JCI accredited private hospitals of Pakistan. Marks shall be awarded in the following manner: 02 Tender approvals- 01 mark 04 Tender approvals- 02 marks 06 Tender approvals- 03 marks 08 Tender approvals- 04 marks 10 or more Tender approvals- 05 marks Note. Tender approval means award of contract(s) for the quoted product(s) with the same brand name and specifications / strength / dosage form. Moreover, the approval(s) shall be duly attested by the concerned procuring entities and accompanied with purchase orders, delivery challan, invoice/warranty and cheque from the concerned procuring entity/purchasing agency/ies, etc. The bank statement showing the respective transaction against the cheque received shall also be submitted with each purchase order. | CE mark/ Quality Assurance / Quality Control certificate issued by conformity assessment bodies (CABs) enlisted in NANDO database under the relevant European directive for medical devices of European Union shall be accepted only.(verification Link shall be provided) and/or Japanese Ministry of Health, Labour and Welfare (JMHLW) certificate and/or US FDA (510 K) / US free sale certificate of the quoted products, The document submitted in the technical bid of the quoted items for award of marks shall have the same brand name mentioned in all the above certificate/s. 02 marks for each certification, up to a maximum of 06 marks. Certificates on company's own letter heads shall not be acceptable. Online verification link shall be provided. (copies of relevant certificates duly attested by the senior executive of the firm) | Samples evaluation by DTL (Failure to comply with relevant standards shall lead to Disqualification of the quoted products) | Physical examination of the quoted item/s by the MCC expert/s. Rejection of the quoted item/s by the MCC expert/s shall lead to disqualification of the said item/s.
Principal | Ref. No. of item in MCC Formulary | Generic Name of Item | Size, Gauge, etc. of Device | Trade Name | 3 | 5 | 5 | 5 | 5 | 6 | 29 | 5 | 5 | 5 | 6 | 10 | 10 | 41 | 70
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1016 | Disposable Auto Disable Syringe (Blister Packing) Sterile | 3ML | BIO SOFT | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1017 | Disposable Auto Disable Syringe (Blister Packing) Sterile | 5ML | BIO SOFT | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1112 | IV Fluid Administration Set (Sterile & Pyrogen Free, minimum 150 cm Tube Length, Blister Pack) | 150cm, Blister Pack | BIO SOFT | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 3 | 2 | 10 | 10 | 35 | 59
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1113 | IV Fluid Administration Set with additional "Y" Injection Port (Sterile & Pyrogen Free, minimum 150 cm Tube Length, Blister Pack) | 150cm, Y-Port, Blister Pack | BIO SOFT | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1116 | I/V Cannula (Sterile having wings + injection port in sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free). | With Wings+ Inj: Port+ G-18, | FLOWCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1117 | I/V Cannula (Sterile having wings + injection port with heparin stopper inside sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free). | With Wings+ Inj: Port+ Heparin Stopper G-18, | FLOWCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1118 | I/V Cannula (Sterile having wings + injection port in sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free) | With Wings+ Inj: Port+ G-20, | FLOWCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1119 | I/V Cannula (Sterile having wings + injection port with heparin stopper inside sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free). | With Wings+ Inj: Port+ Heparin Stoppper G-20, | FLOWCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1120 | I/V Cannula (Sterile having wings + injection port in sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free) | With Wings+ Inj: Port, G-22, | FLOWCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1121 | I/V Cannula (Sterile having wings + injection port with heparin stopper inside sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free). | With Wings+ Inj: Port+ Heparin Stopper G-22, | FLOWCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1122 | I/V Cannula (Sterile having wings + injection port with heparin stopper inside sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free). | With Wings+ Inj: Port + Heparin Stopper G-24, | FLOWCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
Jiangxi Fenglin Medical Appliances Co, Ltd, China | 1123 | I/V Cannula (Sterile having wings with heparin stopper inside sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free). | With Small Wings+ Heparin Stopper G-24, | FLOWCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
RIASA S.R.L. Argentina | 917 | Adhesive Tapes (Paper) | 1" (2.5cm) x 4.5m | HIPOALERGIC PORE | 0 | 5 | 0 | 5 | 5 | 6 | 21 | 5 | 5 | 0 | 0 | 10 | 10 | 30 | 51
Shandong Yixing Medical Co., Ldt., China | 1112 | IV Fluid Administration Set (Sterile & Pyrogen Free, minimum 150 cm Tube Length, Blister Pack) | 150cm, Blister Pack | BIO FLOW | 0 | 5 | 0 | 5 | 5 | 6 | 21 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 53
Shandong Yixing Medical Co., Ldt., China | 1113 | IV Fluid Administration Set with additional "Y" Injection Port (Sterile & Pyrogen Free, minimum 150 cm Tube Length, Blister Pack) | 150cm, Y-Port, Blister Pack | BIO FLOW | 0 | 5 | 0 | 5 | 5 | 6 | 21 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 53
USM Healthcare Medical Device Factory Vietnam | 1114 | I/V Cannula (Sterile having wings + injection port in sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free) | With Wings+ Inj: Port+ G-14, | FAVOCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
USM Healthcare Medical Device Factory Vietnam | 1115 | I/V Cannula (Sterile having wings + injection port in sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free) | With Wings+ Inj: Port+ G-16, | FAVOCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
USM Healthcare Medical Device Factory Vietnam | 1116 | I/V Cannula (Sterile having wings + injection port in sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free). | With Wings+ Inj: Port+ G-18, | FAVOCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 1 | 2 | 10 | 10 | 33 | 57
USM Healthcare Medical Device Factory Vietnam | 1117 | I/V Cannula (Sterile having wings + injection port with heparin stopper inside sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free). | With Wings+ Inj: Port+ Heparin Stopper G-18, | FAVOCATHU | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
USM Healthcare Medical Device Factory Vietnam | 1118 | I/V Cannula (Sterile having wings + injection port in sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free) | With Wings+ Inj: Port+ G-20, | FAVOCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 5 | 2 | 10 | 10 | 37 | 61
USM Healthcare Medical Device Factory Vietnam | 1119 | I/V Cannula (Sterile having wings + injection port with heparin stopper inside sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free). | With Wings+ Inj: Port+ Heparin Stoppper G-20, | FAVOCATHU | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
USM Healthcare Medical Device Factory Vietnam | 1120 | I/V Cannula (Sterile having wings + injection port in sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free) | With Wings+ Inj: Port, G-22, | FAVOCATH | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 5 | 2 | 10 | 10 | 37 | 61
USM Healthcare Medical Device Factory Vietnam | 1121 | I/V Cannula (Sterile having wings + injection port with heparin stopper inside sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free). | With Wings+ Inj: Port+ Heparin Stopper G-22, | FAVOCATHU | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56
USM Healthcare Medical Device Factory Vietnam | 1122 | I/V Cannula (Sterile having wings + injection port with heparin stopper inside sterilized blister packing. The Cannula should be radio-opaque, as well as latex, pyrogen, and PVC free). | With Wings+ Inj: Port + Heparin Stopper G-24, | FAVOCATHU | 3 | 5 | 0 | 5 | 5 | 6 | 24 | 5 | 5 | 0 | 2 | 10 | 10 | 32 | 56